## Sheet1
Equipment ID# | Equipment Description | Model | Room Location | Point ID | Serial Number | Calibration/PM Source | Date of Last Calibration/PM | Calibration/ PM Frequency | Date of Next Calibration/PM
600986061 | Laboratory Glassware Washer | G 7883 | R12-307 | N/A | 00/74318674 | GE | 2020-06-18 | Annual | 2021-06-01
404076724 | ABS -20 ºC freezer, 1-door | ABT-MFP-20-TS | R12-308 | AA10658 | ABS-WB70258516-1702 | GE | 2020-12-08 | Annual | 2021-12-01
403082571 | ThermoFisher Revco 5 ºC refrigerator, 2-door | REL4504A23 | R12-308 | MM004104 | 116228801110830 | GE | 2020-06-18 | Annual | 2021-06-01
404076725 | ABS -20 ºC freezer, 1-door | ABT-MFP-20-TS | R12-309 | AA10657 | ABS-WB70258501-1702 | GE | 2020-12-08 | Annual | 2021-12-01
402939248 | Corning LSE Orbital Shaker | S2030-LS-COR | R12-309 | N/A | 15083003 | GE | 2020-12-08 | Annual | 2021-12-01
403082568 | ThermoFisher Revco 5 ºC refrigerator, 2-door | REL4504A23 | R12-309 | MM004103 | 116233101110906 | GE | 2020-06-18 | Annual | 2021-06-01
403879172 | Phenix Digital Heat Block | BSH1002 | R12-309 | N/A | AS-BS-H2-1431 | GE | 2020-12-09 | Annual | 2021-12-01
404079401 | ThermoFisher TLE Series -80°C Freezer | TLE 40086A | R12-309 | ML023294 | 1118202601171000 | GE | 2020-06-18 | Annual
600986062 | Accuris 3200g Balance | W3200-3200 | R12-310 | N/A | 3200301 | GE | 2020-12-08 | Semi-Annual | 2021-06-01
403879156 | Anderson Abator | AN5100 | R12-310 | N/A | 121684 | SteriLogic | 2020-12-29 | Semi-Annual | 2021-06-01
403879155 | Anderson Anprolene Gas Sterilizer | AN74i | R12-310 | N/A | PN75_VN051710 | SteriLogic | 2020-12-29 | Semi-Annual | 2021-06-01
403879143 | Bransonic Ultrasonic Bath | CPX2800H | R12-310 | N/A | BGG071416140 | GE | 2020-12-08 | Annual | 2021-12-01
403876520 | Climet Airborne Particle Counter | CI-454 | R12-310 | N/A | 155305 | Climet | 2020-01-07 | Annual | 2021-01-01
402939169 | Climet Microbial Air Sampler | CI-90 | R12-310 | N/A | 155385 | Climet | 2021-01-07 | Annual | 2021-01-01
192246909 | Fisherbrand Digital 3-Channel Alarm Timer | Traceable | R12-310 | N/A | 192246909 | Fisher | 2019-06-13 | Replace after calibration is due | 2021-06-13
403082570 | Lytzen Depyrogenation Oven | DK273 | R12-310 | N/A | A20111136/ H1F | SteriLogic | 2020-12-29 | Semi-Annual | 2021-06-01
403879147 | Mettler Toledo FiveEasy pH Meter | FE20 | R12-310 | N/A | B404254012 | cGMP Core Staff | TIME OF USE
1000170330 | Mettler Toledo Weight (100 mg) | 11118201 | R12-310 | N/A | 1000170330 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170336 | Mettler Toledo Weight (100 g) | 11118201 | R12-310 | N/A | 1000170336 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170340 | Mettler Toledo Weight (1 kg) | 11118204 | R12-310 | N/A | 1000170340 | Mettler Toledo | 2019-05-02 | Annual | 2020-05-01
403098754 | NuAire Labgard Class II Biological Safety Cabinet | NU-425-400 | R12-310 | N/A | 158641082 | Allometrics | 2020-12-07 | Semi-Annual | 2021-06-01
404925070 | Pipettor | Fisherbrand | R12-310 | N/A | Fisherbrand | GE | 2020-12-08 | Annual | 2021-12-01
403082573 | Tuttnauer Table Top Autoclave | 2540M | R12-310 | N/A | 1103473-1103474 | SteriLogic | 2020-12-29 | Semi-Annual | 2021-06-01
404079425 | Weston Heat Sealer | Pro-2300 | R12-310 | N/A | 23101640896 | GE | 2020-06-18 | Annual | 2021-06-01
404079491 | Branson Sonicator | 2800 | R12-311 | N/A | BGG061725360B | GE | 2020-12-08 | Annual | 2021-12-01
402939343 | Bransonic Ultrasonic Bath | M5800 | R12-311 | N/A | BGM091803100B | GE | 2020-12-08 | Annual | 2021-12-01
404079411 | Buchi Rotavapor | R-300 | R12-311 | N/A | 1000277923 | GE | 2020-12-08 | Annual | 2021-12-01
404076774 | Fisher Scientific Calipers | 14-648-17 | R12-311 | N/A | 160259133 | Allometrics | 2020-06-08 | Annual | 2021-06-01
404080497 | Digivac Digital Manometer | m200 | R12-311 | N/A | K16F033 | GE | 2020-12-08 | Annual | 2021-12-01
192224915 | Fisherbrand Digital 3-Channel Alarm Timer | Traceable | R12-311 | N/A | 192224915 | Fisher | 2019-06-06 | Replace after calibration is due | 2021-06-06
403879145 | Fisher Scientific Stirplate | 1152049S | R12-311 | N/A | C1929131055562 | GE | 2020-12-08 | Annual | 2021-12-01
404925073 | Fisherbrand Pipet Controller | Fisherbrand | R12-311 | N/A | MJ759658 | GE | 2020-12-08 | Annual | 2021-12-01
403876519 | Fisher Scientific Accumet pH Meter | AB150 | R12-311 | N/A | AB92347306 | cGMP Core Staff | TIME OF USE
403879151 | Heidolph RotaChill Portable Chiller | Rotachill | R12-311 | N/A | 3G1320131 | GE | 2020-06-18 | Annual | 2021-06-01
403879144 | Labnet Spectrafuge 24D | C2400-B | R12-311 | N/A | D304256 | GE | 2020-12-08 | Annual | 2021-12-01
403879148 | Mettler Toledo NewClassic MF Balance | ML104 | R12-311 | N/A | B417543758 | GE | 2020-12-08 | Semi-Annual | 2021-06-01
1000170329 | Mettler Toledo Weight | 11118285 | R12-311 | N/A | 1000170329 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170333 | Mettler Toledo Weight | 11118191 | R12-311 | N/A | 1000170333 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170335 | Mettler Toledo Weight | 11118196 | R12-311 | N/A | 1000170335 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170037 | Mettler Toledo Weight | 11118201 | R12-311 | N/A | 1000170037 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170331 | Mettler Toledo Weight | 11118191 | R12-311 | N/A | 1000170331 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
1000170339 | Mettler Toledo Weight | 11118204 | R12-311 | N/A | 1000170339 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170341 | Mettler Toledo Weight | 11118206 | R12-311 | N/A | 1000170341 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
1000170342 | Mettler Toledo Weight | 11118211 | R12-311 | N/A | 1000170342 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
403879177 | Mettler Toledo NewClassic MF Balance | MS16001L/03 | R12-311 | N/A | B532284276 | GE | 2020-12-08 | Semi-Annual | 2021-06-01
402939335 | Motic Metallurgy Microscope | BA310MET-T | R12-311 | N/A | 1480000761 | GE | 2020-06-18 | Annual | 2021-06-01
403879154 | MHT Products Inc. Heat Gun | 750 | R12-311 | N/A | 283609 | GE | 2020-12-08 | Annual | 2021-12-01
404080275 | SP Scientific Advantage Lyophilizer | ADP-B3EL-EVG-X | R12-311 | N/A | 320883 | SP Scientific | 2020-06-30 | Annual | 2021-06-01
403082567 | Thermo Scientific Hamilton 6’ Chemical Fume Hood | Concept | R12-311 | N/A | 403082567 | Allometrics | 2020-06-01 | Annual | 2021-06-01
600983263 | Thermo Scientific Vacuum Oven | 3608 | R12-311 | N/A | 300456934 | GE |  | Annual
404079494 | Waring Commercial Blender | WSB25X | R12-311 | N/A | NSN404079494 | GE | 2020-12-08 | Annual | 2021-12-01
404079402 | Welch ChemStar Dry Vacuum Pump | 2070B-01 | R12-311 | N/A | 101700000282 | GE | 2020-06-18 | Annual | 2021-06-01
404080496 | Welch Dryfast Vacuum Pump | 8905A | R12-311 | N/A | 121600000756 | GE | 2019-12-06 | Annual | 2020-12-01
600986025 | Argos Rotoflex Tube Rotator | R2000 | R12-313 |  | 3812021 | GE | 2020-08-18 | Annual | 2021-08-01
600986035 | Argos Rotoflex Tube Rotator | R2000 | R12-313 |  | 3820016 | GE | 2020-08-18 | Annual | 2021-08-01
403879165 | Benchmark Scientific MyFuge | C1012 | R12-313 | N/A | 20131202835 | GE | 2020-12-08 | Annual | 2021-12-01
403879141 | Benchmark Scientific MyFuge | C1012 | R12-313 | N/A | 20131202808 | GE | 2020-12-08 | Annual | 2021-12-01
403879158 | Eppendorf MiniSpin Plus Centrifuge | 5433 | R12-313 | N/A | 5453DJ375916 | GE | 2020-12-08 | Annual | 2021-12-01
405613121 | Eppendorf ThermoMixer | ThermoMixer C | R12-313 | N/A | 5382EI308286 | GE | 2020-06-18 | Annual | 2021-06-01
192246874 | Fisherbrand Digital 3-Channel Alarm Timer | Traceable | R12-313 | N/A | 192246874 | Fisher | 2019-06-13 | Replace after calibration is due | 2021-06-13
403116889 | Fisher Scientific Digital Vortex Mixer | 945415 | R12-313 | N/A | E193271 | GE | 2020-12-08 | Annual | 2021-12-01
404925072 | Fisherbrand Pipet Controller | Fisherbrand | R12-313 | N/A | MK760286 | GE | 2020-12-08 | Annual | 2021-12-01
403146772 | NuAire Labgard Class II Biological Safety Cabinet | NU-425-400 | R12-313 | N/A | 161330012414 | Allometrics | 2020-12-07 | Semi-Annual | 2021-06-01
404925082 | Presicion Nanosystems | Bench top | R12-313 | N/A | NA-1.5-234 | GE | 2020-06-21 | Annual | 2021-06-01
404080277 | Shimadzu UFLC | CBM-20A | R12-313 | N/A | L20235356386 | Shimadzu | 2020-01-02 | Biannual | 2021-12-01
404080276 | Sorvall Legend Centrifuge | X1R | R12-313 | N/A | 41928279 | GE | 2020-06-18 | Annual | 2021-06-01
404925083 | Sorvall Centrifuge | Lynx 6000 | R12-313 | N/A | 42269300 | Thermo Fisher | 2020-06-24 | Annual | 2021-06-01
600700834 | TFF | Akta flux S | R12-313 | N/A | 2560546 | GE | 2020-12-08 | Annual | 2021-12-01
192336189 | Traceable Conductivity Meter | 150-078-20011714226 | R12-313 | N/A | 192336189 | Fisher Scientific | 2019-07-15 | Biannual | 2021-07-01
B925833067 | Mettler Toledo Weight | 30293566 | R12-313 | N/A | B925833067 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
402939175 | Carl Zeiss Axio Scope | Axio Scope.A1 | R12-314 | N/A | 3326000106 | GE | 2020-12-08 | Annual | 2021-12-01
403879142 | Rainin Pipet Controller | Pipet-X | R12-314 | N/A | 04M84201 | GE | 2020-12-08 | Annual | 2021-12-01
192246899 | Fisherbrand Digital 3-Channel Alarm Timer | Traceable | R12-314 | N/A | 170448357 | Fisher | 2019-06-13 | Replace after calibration is due | 2021-06-13
403082549 | Modutek Corp Acid Bench | Acid Bench | R12-314 | N/A | 3742 | Modutek | NOT IN USE | Annual | NOT IN USE
403879173 | Rainin Pipette-X | Pipet-X | R12-314 | N/A | 12L21488 | GE | 2020-12-08 | Annual | 2021-12-01
402939247 | Sorvall Legend XTR Centrifuge | Legend XTR | R12-314 | N/A | 41880543 | GE | 2020-06-18 | Annual | 2021-06-01
403879149 | Corning Stirrer/Hotplate | 6797-420D | R12-316 | N/A | 154713319133 | GE | 2020-12-08 | Annual | 2021-12-01
405613120 | Denovix | DS-11 | R12-316 | N/A | S-04183 | OTPQ Staff | 2020-07-02 | Annual | 2021-07-01
192224821 | Fisherbrand Digital 3-Channel Alarm Timer | Traceable | R12-316 | N/A | 170448436 | Fisher | 2019-06-06 | Replace after calibration is due | 2021-06-06
404962722 | Fisher Scientific Variable Speed Peristaltic Pump | 13-310-656 | R12-316 | N/A | C18002220 | GE | 2020-12-08 | Annual | 2021-12-01
403116888 | Fisher Scientific Digital Vortex Mixer | 945415 | R12-316 | N/A | 131004010 | GE | 2020-12-08 | Annual | 2021-12-01
404079490 | Mettler Toledo Balance | ME204E | R12-316 | N/A | B719102761 | GE | 2020-06-18 | Annual | 2021-06-01
1000170334 | Mettler Toledo Weight (50 g) | 11118196 | R12-316 | N/A | 1000170334 | Mettler Toledo | 2020-05-29 | Annual | 2021-05-01
1000170328 | Mettler Toledo Weight (100 mg) | 11118285 | R12-316 | N/A | 1000170328 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
1000170338 | Mettler Toledo Weight (200 g) | 11118202 | R12-316 | N/A | 1000170338 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
1000170332 | Mettler Toledo Weight (1 g) | 11118191 | R12-316 | N/A | 1000170332 | Mettler Toledo | 2020-05-14 | Annual | 2021-05-01
403148409 | NuAire Labgard Class II Biological Safety Cabinet | NU-425-600ES | R12-316 | N/A | 173658040616 | Allometrics | 2020-12-07 | Semi-Annual | 2021-06-01
403879163 | Pipette Controller | Pipet-X | R12-316 | N/A | 04M84223 | GE | 2020-12-08 | Annual | 2021-12-01
404080278 | SP Scientific Virtis Genesis Pilot Freeze Dryer | 25L EL-85 | R12-316 | N/A | 320977 | SP Scientific | 2020-08-11 | Annual | 2021-08-01
404079492 | Thermo Scientific Stirrer / Hotplate | SP88850100 | R12-316 | N/A | C3010027071773098 | GE | 2020-12-08 | Annual | 2021-12-01
404080280 | Watson Marlow Flexicon Filling System | 61-050-022 | R12-316 | N/A | 16053931 | cGMP Core Staff | NOT IN USE | Annual | NOT IN USE
404080279 | Watson Marlow Flexicon Semi-Automatic Crimp Capper | 63-100-020 | R12-316 | N/A | 15103303 | cGMP Core Staff | NOT IN USE | Annual | NOT IN USE
403146554 | Elga Centra RO Water System | R200 | R12-ME1 | N/A | CEN00001102 | Evoqua | 2021-04-29 | Quarterly | 2021-07-01
404080282 | Jun Air Compressor | OF1202 | R12-ME1 | N/A | 115801858 | GE | 2020-12-08 | Annual | 2021-12-01
404079397 | Norlake Scientific Stability Chamber | NSRI331WSW/OH | R12-ME1 | N/A | 17040642 | GE | 2020-10-06 | Annual | 2021-10-01
404079398 | Norlake Scientific Stability Chamber | NSRI241WSW/OH | R12-ME1 | N/A | 17050261 | GE | 2020-10-06 | Annual | 2021-10-01
404079489 | Norlake Scientific Stability Chamber | NSRI241WSW/OH | R12-ME1 | N/A | 17100622 | GE | 2020-10-06 | Annual | 2021-10-01
PJ71172 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-310 | N/A | PJ71172 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PH74130 | Pipetman 1 – 10 mL pipet | LP10mLL | R12-310 | N/A | PH74130 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PG7025 | Pipetman 1 – 10 mL pipet | LP10mLL | R12-310 | N/A | PG71952 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PH74707 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-310 | N/A | PH74707 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PJ71165 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-310 | N/A | PJ71165 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PL71841 | Pipetman 1 – 10 L pipet | LP10L | R12-310 | N/A | PL71841 | Eppendorf | 2020-11-23 | Semi-Annual | 2021-05-01
PJ70550 | Pipetman 0.2 – 2 L pipet | LP2L | R12-310 | N/A | PJ70550 | Eppendorf | 2020-11-23 | Semi-Annual | 2021-05-01
PJ70552 | Pipetman 0.2 – 2 L pipet | LP2L | R12-310 | N/A | PJ70552 | Eppendorf | 2020-11-23 | Semi-Annual | 2021-05-01
PK73413 | Pipetman 10 – 100 L pipet | LP100L | R12-310 | N/A | PK73413 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PK73421 | Pipetman 10 – 100 L pipet | LP100L | R12-310 | N/A | PK73421 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PH72456 | Pipetman Multichannel 20 – 200 L pipet | LP8X200L | R12-310 | N/A | PH72456 | Eppendorf | 2020-11-23 | Semi-Annual | 2021-05-01
PH74126 | Pipetman 1 – 10 mL pipet | LP10Mll | R12-311 | N/A | PH74126 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PH74706 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-311 | N/A | PH74706 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PK73588 | Pipetman 10 – 100 L pipet | LP100L | R12-311 | N/A | PK73588 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PJ71792 | Pipetman 20 – 200 L pipet | LP200L | R12-311 | N/A | PJ71792 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PH74465 | Pipetman 2 – 20 L pipet | LP20L | R12-311 | N/A | PH74465 | Eppendorf | 2020-11-18 | Semi-Annual | 2021-05-01
PH74733 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-313 | N/A | PH74733 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PG71956 | Pipetman 1 – 10 mL pipet | LP10mLL | R12-313 | N/A | PG71956 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PK73587 | Pipetman 10 – 100 L pipet | LP100L | R12-313 | N/A | PK73587 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PK73586 | Pipetman 10 – 100 L pipet | LP100L | R12-313 | N/A | PK73586 | Eppendorf | 2020-11-20 | Semi-Annual | 2021-05-01
PH74467 | Pipetman 2 – 20 L pipet | LP20L | R12-313 | N/A | PH74467 | Eppendorf | 2020-11-18 | Semi-Annual | 2021-05-01
PJ71786 | Pipetman 20 – 200 L pipet | LP200L | R12-313 | N/A | PJ71786 | Eppendorf | 2020-11-21 | Semi-Annual | 2021-05-01
PJ70556 | Pipetman 0.2 – 2 L pipet | LP2L | R12-313 | N/A | PJ70556 | Eppendorf | 2020-12-04 | Semi-Annual | 2021-06-01
PJ70555 | Pipetman 0.2 – 2 L pipet | LP2L | R12-313 | N/A | PJ70555 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PK75520 | Pipetman 1 – 10 L pipet | LP10L | R12-313 | N/A | PK75520 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PJ71139 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-313 | N/A | PJ71139 | Eppendorf | 2020-12-03 | Semi-Annual | 2021-06-01
PJ72452 | Pipetman Multichannel 20 – 200 L pipet | LP8X200L | R12-313 | N/A | PJ72452 | Eppendorf | 2020-12-08 | Semi-Annual | 2021-06-01
PH72455 | Pipetman Multichannel 20 – 200 L pipet | LP8X200L | R12-313 | N/A | PH72455 | Eppendorf | 2020-12-08 | Semi-Annual | 2021-06-01
PJ71143 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-314 | N/A | PJ71143 | Eppendorf | 2020-12-08 | Semi-Annual | 2021-06-01
PH74151 | Pipetman 1 – 10 mL pipet | LP10mLL | R12-314 | N/A | PH74151 | Eppendorf | 2020-12-04 | Semi-Annual | 2021-06-01
PJ71745 | Pipetman 20 – 200 L pipet | LP200L | R12-314 | N/A | PJ71745 | Eppendorf | 2020-12-03 | Semi-Annual | 2021-06-01
PJ71791 | Pipetman 20 – 200 L pipet | LP200L | R12-314 | N/A | PJ71791 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PJ71155 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-314 | N/A | PJ71155 | Eppendorf | 2020-12-08 | Semi-Annual | 2021-06-01
PL71838 | Pipetman 1 – 10 L pipet | LP10L | R12-314 | N/A | PL71838 | Eppendorf | 2020-12-03 | Semi-Annual | 2021-06-01
PG71960 | Pipetman 1 – 10 mL pipet | LP10Mll | R12-314 | N/A | PG71960 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PH74136 | Pipetman 1 – 10 mL pipet | LP10Mll | R12-314 | N/A | PH74136 | Eppendorf | 2020-12-03 | Semi-Annual | 2021-06-01
PH74450 | Pipetman 2 – 20 L pipet | LP20L | R12-314 | N/A | PH74450 | Eppendorf | 2020-12-04 | Semi-Annual | 2021-06-01
PJ71159 | Pipetman 100 – 1,000 L pipet | LP1000L | R12-316 | N/A | PJ71159 | Eppendorf | 2020-12-08 | Semi-Annual | 2021-06-01
PG71951 | Pipetman 1 – 10 mL pipet | LP10mLL | R12-316 | N/A | PG71951 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PJ71733 | Pipetman 20 – 200 L pipet | LP200L | R12-316 | N/A | PJ71733 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PJ70554 | Pipetman 0.2 – 2 L pipet | LP2L | R12-316 | N/A | PJ70554 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
PH74484 | Pipetman 2 – 20 L pipet | LP20L | R12-316 | N/A | PH74484 | Eppendorf | 2020-12-07 | Semi-Annual | 2021-06-01
AA10657 | Mesa Monitoring Stainless Steel Temperature Probe | 72105-12 | R12-309 | N/A | 183226 | GE | 2019-08-13 | Annual | 2020-08-01
AA10658 | Mesa Monitoring Stainless Steel Temperature Probe | 72105-12 | R12-308 | N/A | 191191 | GE | 2019-08-13 | Annual | 2020-08-01
ML023294 | Mesa Monitoring Stainless Steel Temperature Probe | 72105-12 | R12-309 | N/A | 178741 | GE | 2019-08-13 | Annual | 2020-08-01
MM004103 | Mesa Monitoring Stainless Steel Temperature Probe | 72105-12 | R12-309 | N/A | 191041 | GE | 2019-08-13 | Annual | 2020-08-01
MM004104 | Mesa Monitoring Stainless Steel Temperature Probe | 72105-12 | R12-308 | N/A | 183131 | GE | 2019-08-13 | Annual | 2020-08-01
200323733 | Fisher Scientific Traceable Temperature / Humidity Logger | 15-081-112 | R10-409 | N/A | 200323733 | Fisher Scientific | 2020-05-28 | Biennial | 2022-05-01
200323735 | Fisher Scientific Traceable Temperature / Humidity Logger | 15-081-112 | R12-ME1 | N/A | 200323735 | Fisher Scientific | 2020-05-28 | Biennial | 2022-05-01
200197575 | Fisher Scientific Traceable Temperature / Humidity Logger | 15-081-112 | R12-304 | N/A | 200197575 | Fisher Scientific | 2020-03-19 | Biennial | 2022-03-01
200197571 | Fisher Scientific Traceable Temperature / Humidity Logger | 15-081-112 | R1-401 | N/A | 200197571 | Fisher Scientific | 2020-03-19 | Biennial | 2022-03-01
18312060
Temperature and Relative Humidity Logger | VL-2000-20R | R12-305 | N/A | 18312060 | Vaisala | 2020-07-16 | Annual | 2021-07-01
19182023 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-308 | N/A | 19182023 | Vaisala | 2020-07-16 | Annual | 2021-07-01
19182024 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-309 | N/A | 19182024 | Vaisala | 2020-07-16 | Annual | 2021-07-01
17402024 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-310 | N/A | 17402024 | Vaisala | 2020-07-16 | Annual | 2021-07-01
20482049 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-311 | N/A | 20482049 | Vaisala | 2020-07-16 | Annual | 2021-07-01
20482048 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-312 | N/A | 20482048 | Vaisala | 2020-11-30 | Annual | 2021-11-01
18502121 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-313 | N/A | 18502121 | Vaisala | 2020-07-16 | Annual | 2021-07-01
17332074 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-314 | N/A | 17332074 | Vaisala | 2020-07-16 | Annual | 2021-07-01
17282041 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-315 | N/A | 17282041 | Vaisala | 2020-07-16 | Annual | 2021-07-01
18512077 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-316 | N/A | 18512077 | Vaisala | 2020-07-16 | Annual | 2021-07-01
16482017 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-317 | N/A | 16482017 | Vaisala | 2020-07-16 | Annual | 2021-07-01
20482047 | Temperature and Relative Humidity Logger | VL-2000-20R | R12-318 | N/A | 20482047 | Vaisala | 2020-11-30 | Annual | 2021-11-01
107074420 | Differential Pressure Logger (DPT-12) | CRC DPT 24.25.25 | R12-304 | N/A | 107074420 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074422 | Differential Pressure Logger (DPT-09) | CRC DPT 24.25.25 | R12-304 | N/A | 107074422 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074425 | Differential Pressure Logger (DPT-06) | CRC DPT 24.25.25 | R12-304 | N/A | 107074425 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074427 | Differential Pressure Logger (DPT-10) | CRC DPT 24.25.25 | R12-304 | N/A | 107074427 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074438 | Differential Pressure Logger (DPT-08) | CRC DPT 24.25.25 | R12-304 | N/A | 107074438 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074439
Differential Pressure Logger (DPT-04) | CRC DPT 24.25.25 | R12-304 | N/A | 107074439 | Vaisala | 2020-01-10 | Annual | 2021-01-01
107074441 | Differential Pressure Logger (DPT-11) | CRC DPT 24.25.25 | R12-304 | N/A | 107074441 | Vaisala | 2020-07-16 | Annual | 2021-07-01
107074442 | Differential Pressure Logger (DPT-03) | CRC DPT 24.25.25 | R12-304 | N/A | 107074442 | Vaisala | 2020-01-10 | Annual | 2021-01-01
107074445 | Differential Pressure Logger (DPT-01) | CRC DPT 24.25.25 | R12-304 | N/A | 107074445 | Vaisala | 2020-01-10 | Annual | 2021-01-01
107074446 | Differential Pressure Logger (DPT-02) | CRC DPT 24.25.25 | R12-304 | N/A | 107074446 | Vaisala | 2020-01-10 | Annual | 2021-01-01
107074448 | Differential Pressure Logger (DPT-05) | CRC DPT 24.25.25 | R12-304 | N/A | 107074448 | Vaisala | 2020-07-16 | Annual | 2021-07-01
507231044 | Differential Pressure Logger (DPT-07) | PDT101-W4C | R12-304 | N/A | 507231044 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229109 | Differential Pressure Logger (PDT-11) | PDT101-W4C | R12-304 | N/A | 702229109 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229091 | Differential Pressure Logger (PDT-12) | PDT101-W4C | R12-304 | N/A | 702229091 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229114 | Differential Pressure Logger (PDT-13) | PDT101-W4C | R12-304 | N/A | 702229114 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229094 | Differential Pressure Logger (PDT-14) | PDT101-W4C | R12-304 | N/A | 702229094 | Vaisala | 2020-07-16 | Annual | 2021-07-01
612030862 | Differential Pressure Logger (PDT-21) | PDT101-W4C | R12-304 | N/A | 612030862 | Vaisala | 2020-07-16 | Annual | 2021-07-01
612030864 | Differential Pressure Logger (PDT-22) | PDT101-W4C | R12-304 | N/A | 612030864 | Vaisala | 2019-07-22 | Annual | 2020-07-01
703131638 | Differential Pressure Logger (PDT-23) | PDT101-W4C | R12-304 | N/A | 703131638 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229098 | Differential Pressure Logger (PDT-24) | PDT101-W4C | R12-304 | N/A | 702229098 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229111 | Differential Pressure Logger (PDT-31) | PDT101-W4C | R12-304 | N/A | 702229111 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229100 | Differential Pressure Logger (PDT-32) | PDT101-W4C | R12-304 | N/A | 702229100 | Vaisala | 2020-07-16 | Annual | 2021-07-01
703131637 | Differential Pressure Logger (PDT-33) | PDT101-W4C | R12-304 | N/A | 703131637 | Vaisala | 2020-07-16 | Annual | 2021-07-01
702229095 | Differential Pressure Logger (PDT-34) | PDT101-W4C | R12-304 | N/A | 702229095 | Vaisala | 2019-07-22 | Annual | 2020-07-01
19194001 | Universal Input Logger (DL-01) | VL-4000-40A | R12-304 | N/A | 10094012 | Vaisala | 2019-05-06 | Annual | 2020-05-01
18104019 | Universal Input Logger (DL-02) | VL-4000-40A | R12-304 | N/A | 18104019 | Vaisala | 2018-03-15 | Annual | 2019-03-01
10094005 | Universal Input Logger (DL-03) | VL-4000-40A | R12-304 | N/A | 10094005 | Vaisala | 2018-08-17 | Annual | 2019-08-01
17124010 | Universal Input Logger (DLG-01) | VL-4000-40C | R12-304 | N/A | 17124010 | Vaisala | 2018-08-17 | Annual | 2019-08-01
17124006 | Universal Input Logger (DLG-02) | VL-4000-40C | R12-304 | N/A | 17124006 | Vaisala | 2018-08-17 | Annual | 2019-08-01
17124007 | Universal Input Logger (DLG-03) | VL-4000-40C | R12-304 | N/A | 17124007 | Vaisala | 2018-08-17 | Annual | 2019-08-01